## 153_24
S&C Power Fuses - Type SMU-20 (25 and 34.5 kV) | [9 empty] | S&C Power Fuses - Type SMU-20 (25 and 34.5 kV) | [9 empty] | S&C Power Fuses - Type SMU-20 (25 and 34.5 kV) | [9 empty] | S&C Power Fuses - Type SMU-20 (25 and 34.5 kV)
Standard Speed (TCC 153-2-4) | [9 empty] | Standard Speed (TCC 153-2-4) | [9 empty] | Standard Speed (TCC 153-2-4) | [9 empty] | Standard Speed (TCC 153-2-4)
Total Clearing Time-Current Characteristic Curves Dated July 14, 2015 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated July 14, 2015 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated July 14, 2015 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated July 14, 2015
Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus.
5E |  | 7E |  | 10E |  | 13E |  | 15E |  | 20E |  | 25E |  | 30E |  | 40E |  | 50E |  | 65E |  | 80E |  | 100E |  | 125E |  | 150E |  | 175E |  | 200E
Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time
16089.5 | 0.016504 | 16105.6 | 0.016504 | 16057.4 | 0.016504 | 16057.4 | 0.016504 | 16186.4 | 0.016405 | 16154 | 0.016504 | 16073.5 | 0.016504 | 16089.5 | 0.016504 | 16154 | 0.016504 | 16041.3 | 0.016603 | 16009.3 | 0.016504 | 16202.6 | 0.016504 | 16170.2 | 0.016504 | 16089.5 | 0.025295 | 16105.6 | 0.025295 | 16267.5 | 0.025194 | 16283.8 | 0.025295
11338.1 | 0.017507 | 8629.38 | 0.018497 | 9584.74 | 0.018094 | 10383 | 0.017807 | 7973.89 | 0.018701 | 9292.17 | 0.018294 | 9817.56 | 0.018203 | 11636.8 | 0.017507 | 10699.2 | 0.018094 | 12455.6 | 0.017594 | 13332 | 0.0177 | 13520 | 0.018404 | 14241.6 | 0.018004 | 14255.9 | 0.026805 | 11871.8 | 0.030404 | 13398.9 | 0.028491 | 15152.6 | 0.026912
7229.52 | 0.018908 | 6166.76 | 0.019601 | 6815.32 | 0.019503 | 6680.37 | 0.019406 | 4812.29 | 0.021107 | 6876.93 | 0.019798 | 7258.5 | 0.019503 | 8509.41 | 0.019194 | 8865.55 | 0.019309 | 11475 | 0.018203 | 11979.2 | 0.018608 | 11812.6 | 0.019699 | 12430.7 | 0.019798 | 12245.6 | 0.029008 | 10393.4 | 0.033401 | 11315.4 | 0.032188 | 14255.9 | 0.028292
5529.92 | 0.019601 | 4924.25 | 0.020606 | 5069.15 | 0.020606 | 4541.12 | 0.021001 | 3644.33 | 0.022796 | 5223.53 | 0.021706 | 5474.89 | 0.02149 | 7058.08 | 0.020401 | 7886.66 | 0.020299 | 10518.8 | 0.018908 | 11003 | 0.019309 | 10817.5 | 0.020792 | 11124.7 | 0.021404 | 10699.2 | 0.031299 | 9108.18 | 0.036583 | 10106.4 | 0.035396 | 13146.7 | 0.030496
3889.08 | 0.020709 | 3044 | 0.022592 | 3615.29 | 0.02199 | 3337.34 | 0.022705 | 3277.8 | 0.023608 | 4482.46 | 0.022705 | 4674.74 | 0.02291 | 6561.2 | 0.021107 | 7251.24 | 0.021001 | 9758.83 | 0.019601 | 9817.56 | 0.020401 | 9498.87 | 0.022592 | 9955.97 | 0.023094 | 9218.13 | 0.034008 | 8249.67 | 0.03959 | 8981.55 | 0.039314 | 11919.4 | 0.033301
2965.88 | 0.021598 | 2319.09 | 0.023798 | 2659.59 | 0.023703 | 2387.32 | 0.024695 | 2930.5 | 0.0244 | 4072.16 | 0.02349 | 3770.37 | 0.024893 | 6002.48 | 0.021793 | 6713.85 | 0.021706 | 8972.57 | 0.020299 | 8794.91 | 0.021706 | 8475.44 | 0.0244 | 8847.83 | 0.025194 | 8126.84 | 0.036583 | 7215.08 | 0.043798 | 7699.63 | 0.044997 | 10539.9 | 0.037285
2164.46 | 0.022796 | 2077.52 | 0.0244 | 2050.68 | 0.025498 | 1848.13 | 0.026698 | 2609.54 | 0.025194 | 3597.26 | 0.024303 | 3414.98 | 0.025805 | 5409.59 | 0.022705 | 6185.28 | 0.022592 | 8134.98 | 0.021297 | 7863.04 | 0.023303 | 7592.59 | 0.026195 | 7863.04 | 0.027704 | 7114.77 | 0.039988 | 6502.41 | 0.048019 | 6633.77 | 0.052122 | 9273.61 | 0.042292
1568.58 | 0.023989 | 1759.75 | 0.025295 | 1848.13 | 0.026013 | 1657.27 | 0.027704 | 2188.4 | 0.026591 | 3225.77 | 0.025093 | 3019.75 | 0.027101 | 4826.75 | 0.023893 | 5675.58 | 0.023608 | 7251.24 | 0.022592 | 6876.93 | 0.025295 | 6554.64 | 0.029096 | 6953 | 0.03071 | 6316.55 | 0.043492 | 6026.54 | 0.05109 | 5907.21 | 0.058474 | 8110.61 | 0.047923
1162.03 | 0.025194 | 1422.15 | 0.026591 | 1704.33 | 0.026591 | 1517.66 | 0.028605 | 1840.75 | 0.028207 | 2907.15 | 0.025909 | 2651.63 | 0.028691 | 4084.39 | 0.025396 | 5084.38 | 0.024893 | 6380.03 | 0.024303 | 6087.11 | 0.027292 | 5790.24 | 0.031899 | 6228.73 | 0.033602 | 5686.94 | 0.046599 | 5557.64 | 0.05529 | 5166.38 | 0.067734 | 7171.92 | 0.054195
914.092 | 0.026091 | 1177.24 | 0.028095 | 1590.7 | 0.027101 | 1354.15 | 0.029892 | 1601.87 | 0.029713 | 2565.55 | 0.026993 | 2321.41 | 0.030587 | 3314.06 | 0.027704 | 4513.95 | 0.026406 | 5382.61 | 0.026512 | 5323.72 | 0.029892 | 5048.91 | 0.03529 | 5507.84 | 0.037397 | 5145.76 | 0.050481 | 5064.08 | 0.060376 | 4674.74 | 0.075913 | 6278.76 | 0.062401
774.278 | 0.026912 | 977.434 | 0.029713 | 1382.89 | 0.028207 | 1167.86 | 0.031614 | 1392.6 | 0.031487 | 2257.31 | 0.028406 | 2054.79 | 0.032414 | 2790.37 | 0.030192 | 3908.58 | 0.028491 | 4577.59 | 0.029212 | 4674.74 | 0.032805 | 4504.93 | 0.038884 | 4880.14 | 0.041704 | 4726.44 | 0.054195 | 4545.66 | 0.068074 | 4263.85 | 0.085335 | 5350.41 | 0.074484
667.761 | 0.027704 | 810.727 | 0.031709 | 1145.88 | 0.030012 | 943.816 | 0.034591 | 1156.24 | 0.034315 | 1954.57 | 0.030102 | 1827.91 | 0.034487 | 2259.57 | 0.033501 | 3254.94 | 0.031614 | 3759.08 | 0.033003 | 3979.57 | 0.036803 | 4039.71 | 0.042504 | 4212.99 | 0.047493 | 4415.73 | 0.057374 | 4064.02 | 0.077138 | 3881.31 | 0.096794 | 4660.73 | 0.088198
594.625 | 0.028605 | 719.05 | 0.033102 | 936.295 | 0.032285 | 833.748 | 0.037099 | 999.176 | 0.036988 | 1603.47 | 0.032805 | 1645.71 | 0.036292 | 1902.51 | 0.036693 | 2751.57 | 0.034591 | 3254.94 | 0.035895 | 3470.06 | 0.040919 | 3684.64 | 0.045998 | 3662.6 | 0.054794 | 4108.97 | 0.061472 | 3600.86 | 0.089711 | 3466.6 | 0.11336 | 4293.8 | 0.098257
525.805 | 0.029713 | 646.731 | 0.034487 | 791.501 | 0.034591 | 746.153 | 0.039709 | 893.307 | 0.039511 | 1387.04 | 0.034904 | 1449.43 | 0.039197 | 1644.07 | 0.039908 | 2326.05 | 0.038305 | 2812.78 | 0.03959 | 3108.6 | 0.044594 | 3317.37 | 0.050582 | 3241.94 | 0.061472 | 3793.06 | 0.067127 | 3127.31 | 0.10697 | 2974.79 | 0.14183 | 3904.67 | 0.11212
469.154 | 0.030802 | 578.785 | 0.036111 | 678.532 | 0.037285 | 648.674 | 0.043798 | 782.842 | 0.043103 | 1236.36 | 0.037099 | 1306.26 | 0.041997 | 1425 | 0.043711 | 2004.05 | 0.042081 | 2479.79 | 0.043103 | 2659.59 | 0.050886 | 2945.19 | 0.056294 | 2924.64 | 0.068827 | 3540.16 | 0.072937 | 2675.6 | 0.13277 | 2651.63 | 0.16895 | 3540.16 | 0.1282
423.237 | 0.032188 | 516.426 | 0.038191 | 575.323 | 0.041083 | 552.764 | 0.049878 | 673.798 | 0.048404 | 1132.21 | 0.039001 | 1197.42 | 0.044415 | 1260.08 | 0.047493 | 1682.32 | 0.047209 | 2210.4 | 0.046413 | 2380.17 | 0.055901 | 2662.25 | 0.062215 | 2545.11 | 0.079965 | 3193.68 | 0.0824 | 2277.71 | 0.1671 | 2270.89 | 0.21607 | 3190.49 | 0.1506
375.002 | 0.033906 | 471.977 | 0.040189 | 471.506 | 0.047304 | 443.16 | 0.061288 | 570.738 | 0.056407 | 1039.95 | 0.041206 | 1102.05 | 0.047398 | 1129.95 | 0.052018 | 1450.88 | 0.052593 | 2016.12 | 0.049679 | 2145.07 | 0.061288 | 2401.69 | 0.06931 | 2284.56 | 0.090885 | 2826.88 | 0.096215 | 1946.77 | 0.21328 | 1939 | 0.28163 | 2790.37 | 0.18486
343.412 | 0.035502 | 423.66 | 0.042888 | 401.791 | 0.054521 | 360.658 | 0.076983 | 471.034 | 0.069172 | 926.979 | 0.044997 | 1024.47 | 0.05038 | 1031.66 | 0.056294 | 1308.88 | 0.057088 | 1851.83 | 0.053016 | 1942.88 | 0.067599 | 2210.4 | 0.075686 | 2083.76 | 0.10155 | 2392.1 | 0.1211 | 1645.71 | 0.28446 | 1704.33 | 0.35695 | 2337.71 | 0.24779
312.915 | 0.037509 | 374.627 | 0.046693 | 306.412 | 0.072428 | 290.886 | 0.10085 | 390.697 | 0.085763 | 839.604 | 0.049087 | 932.557 | 0.055124 | 935.359 | 0.061781 | 1193.84 | 0.061781 | 1707.74 | 0.056576 | 1749.22 | 0.075008 | 2063.02 | 0.082071 | 1915.87 | 0.11404 | 1925.47 | 0.16478 | 1355.5 | 0.4143 | 1502.56 | 0.45696 | 2056.84 | 0.31032
287.129 | 0.039789 | 330.938 | 0.051397 | 237.206 | 0.097865 | 208.29 | 0.16249 | 311.354 | 0.11508 | 748.395 | 0.05529 | 856.566 | 0.059775 | 856.566 | 0.068074 | 1098.75 | 0.067531 | 1570.15 | 0.060983 | 1568.58 | 0.084065 | 1896.81 | 0.091066 | 1784.56 | 0.12541 | 1625 | 0.2211 | 1145.88 | 0.58091 | 1328.66 | 0.59562 | 1815.16 | 0.39647
258.768 | 0.042802 | 297.654 | 0.056182 | 177.493 | 0.14541 | 164.011 | 0.23831 | 254.915 | 0.15257 | 667.761 | 0.062777 | 782.842 | 0.066128 | 783.625 | 0.075535 | 999.176 | 0.075083 | 1456.7 | 0.06593 | 1406.6 | 0.095353 | 1724.91 | 0.10227 | 1640.78 | 0.14268 | 1396.81 | 0.29108 | 977.434 | 0.82435 | 1176.06 | 0.79679 | 1613.12 | 0.49999
231.813 | 0.04688 | 262.679 | 0.063917 | 138.093 | 0.21116 | 126.714 | 0.36562 | 206.63 | 0.2076 | 566.191 | 0.075837 | 705.517 | 0.074708 | 715.464 | 0.084571 | 900.483 | 0.084995 | 1355.5 | 0.070781 | 1260.08 | 0.10881 | 1535.99 | 0.11977 | 1481.67 | 0.1656 | 1191.58 | 0.38514 | 854.854 | 1.1386 | 1047.25 | 1.067 | 1430.71 | 0.65497
209.334 | 0.05181 | 227.223 | 0.074933 | 101.183 | 0.35802 | 99.3783 | 0.57686 | 171.56 | 0.28219 | 503.172 | 0.089085 | 637.74 | 0.084995 | 652.578 | 0.09564 | 789.13 | 0.10054 | 1231.42 | 0.078382 | 1128.82 | 0.12416 | 1385.65 | 0.13832 | 1318.07 | 0.20206 | 1080.56 | 0.46526 | 770.416 | 1.4856 | 963.845 | 1.3376 | 1258.82 | 0.88855
188.28 | 0.057374 | 191.126 | 0.092628 | 75.2589 | 0.60401 | 78.1737 | 0.93038 | 129.921 | 0.46063 | 437.436 | 0.1073 | 574.173 | 0.09767 | 583.434 | 0.11224 | 713.321 | 0.1167 | 1110.9 | 0.087934 | 1018.34 | 0.14411 | 1214.3 | 0.16693 | 1105.36 | 0.2744 | 984.65 | 0.56374 | 707.637 | 1.8717 | 898.683 | 1.6584 | 1126.56 | 1.1839
169.005 | 0.064818 | 158.053 | 0.11977 | 55.3089 | 1.1028 | 60.5176 | 1.5728 | 100.477 | 0.73701 | 376.882 | 0.13303 | 516.426 | 0.1145 | 519.014 | 0.13277 | 639.656 | 0.13722 | 1009.21 | 0.098454 | 891.523 | 0.17584 | 1069.48 | 0.20328 | 977.434 | 0.34779 | 887.57 | 0.69687 | 660.456 | 2.2815 | 843.813 | 2.0195 | 998.177 | 1.6584
148.106 | 0.075686 | 127.859 | 0.16184 | 45.5101 | 1.6717 | 49.5476 | 2.3961 | 73.8425 | 1.3591 | 326.991 | 0.16511 | 457.113 | 0.13708 | 464.951 | 0.15895 | 568.46 | 0.16627 | 937.232 | 0.1087 | 797.858 | 0.21031 | 938.17 | 0.25003 | 873.869 | 0.43164 | 806.435 | 0.86057 | 622.617 | 2.7097 | 808.298 | 2.3937 | 924.202 | 2.1724
125.83 | 0.093092 | 104.473 | 0.22132 | 39.0145 | 2.3346 | 43.9009 | 3.2247 | 61.0037 | 2.0789 | 278.364 | 0.21158 | 392.655 | 0.1734 | 404.613 | 0.19946 | 500.162 | 0.20553 | 873.869 | 0.12025 | 714.749 | 0.25305 | 837.089 | 0.29994 | 776.604 | 0.55535 | 726.113 | 1.0984 | 595.22 | 3.1894 | 774.278 | 2.8147 | 868.642 | 2.7287
109.61 | 0.11302 | 85.1091 | 0.30723 | 35.4079 | 2.9266 | 40.5256 | 3.9426 | 55.3089 | 2.6454 | 241.032 | 0.26656 | 339.655 | 0.21933 | 353.164 | 0.25104 | 435.69 | 0.26102 | 797.858 | 0.13626 | 652.578 | 0.30024 | 742.432 | 0.36525 | 692.239 | 0.71522 | 667.687 | 1.3523 | 573.599 | 3.6834 | 746.153 | 3.3362 | 830.419 | 3.2734
92.5671 | 0.14469 | 69.4033 | 0.43467 | 32.7838 | 3.539 | 37.8615 | 4.6919 | 51.0566 | 3.313 | 212.498 | 0.33182 | 287.704 | 0.28992 | 300.345 | 0.33819 | 370.158 | 0.34502 | 732.843 | 0.15565 | 559.997 | 0.40206 | 651.274 | 0.46248 | 623.24 | 0.90198 | 608 | 1.733 | 555.535 | 4.2795 | 722.654 | 3.8337 | 795.468 | 3.9465
80.8773 | 0.17832 | 55.3089 | 0.66222 | 30.5368 | 4.366 | 35.7995 | 5.5281 | 47.3674 | 4.1489 | 179.815 | 0.44657 | 247.381 | 0.37789 | 252.127 | 0.46853 | 327.318 | 0.43467 | 675.823 | 0.17868 | 485.38 | 0.54599 | 585.772 | 0.57055 | 563.367 | 1.1547 | 575.865 | 2.0316 | 540.736 | 4.9622 | 703.404 | 4.3747 | 773.504 | 4.6174
71.0891 | 0.21933 | 44.8325 | 0.97515 | 28.6437 | 5.2166 | 34.1217 | 6.625 | 44.1209 | 5.306 | 154.459 | 0.59146 | 209.963 | 0.51111 | 213.776 | 0.63371 | 291.177 | 0.54763 | 613.347 | 0.21094 | 416.102 | 0.75869 | 527.913 | 0.71095 | 522.138 | 1.3797 | 545 | 2.3675 | 526.858 | 5.7883 | 683.298 | 5.0473 | 753.652 | 5.2954
62.7359 | 0.26897 | 37.3351 | 1.4132 | 26.6805 | 6.4614 | 32.1668 | 8.2635 | 41.6764 | 6.6183 | 127.094 | 0.85457 | 186.593 | 0.63435 | 185.477 | 0.82683 | 256.449 | 0.70528 | 525.805 | 0.2755 | 362.829 | 1.0324 | 479.11 | 0.88589 | 492.715 | 1.6174 | 525 | 2.6989 | 511.799 | 6.923 | 666.427 | 5.8465 | 732.11 | 6.2267
53.4066 | 0.35659 | 31.9744 | 1.9696 | 24.9765 | 8.2058 | 30.6286 | 10.2969 | 39.5646 | 8.2635 | 110.16 | 1.1284 | 162.866 | 0.80964 | 164.339 | 1.0438 | 228.362 | 0.90289 | 470.564 | 0.33717 | 309.801 | 1.5096 | 434.82 | 1.105 | 472.45 | 1.8127 | 509 | 3.0859 | 500.162 | 8.1812 | 650.623 | 6.6382 | 714.749 | 7.1481
43.9888 | 0.50603 | 27.7694 | 2.6989 | 23.9971 | 10.1639 | 29.664 | 12.9856 | 37.7103 | 10.5154 | 94.8156 | 1.5432 | 143.155 | 1.0427 | 150.194 | 1.2723 | 206.217 | 1.1307 | 390.697 | 0.47041 | 277.6037 | 1.95 | 397.395 | 1.3537 | 446.72 | 2.1061 | 494 | 3.4968 | 485.38 | 10.0226 | 635.83 | 7.8056 | 699.895 | 8.2966
37.4847 | 0.68102 | 25.2275 | 3.3934 | 22.9412 | 13.5833 | 29.1931 | 16.5576 | 36.4862 | 13.0768 | 85.1091 | 1.9598 | 130.834 | 1.2534 | 135.224 | 1.6078 | 191.508 | 1.3429 | 327.318 | 0.6576 | 258.5766 | 2.3675 | 369.05 | 1.6551 | 427.918 | 2.3628 | 481 | 3.9308 | 472.45 | 12.5014 | 621.373 | 9.087 | 688.098 | 9.5434
32.2312 | 0.91105 | 23.2181 | 4.2497 | 22.5094 | 18.2807 | 29.1348 | 22.9851 | 35.4433 | 17.0618 | 76.6258 | 2.4889 | 120.896 | 1.4916 | 122.478 | 2.0582 | 178.561 | 1.6191 | 287.704 | 0.84184 | 243.5188 | 2.7922 | 343.412 | 1.9854 | 407.863 | 2.7206 | 470 | 4.3616 | 462.169 | 15.75 | 607.244 | 10.8791 | 675.823 | 10.7924
27.9086 | 1.197 | 21.5405 | 5.3754 | 22.4196 | 27.0272 | 28.8161 | 34.2897 | 34.7415 | 22.128 | 71.4454 | 2.9708 | 112.723 | 1.7347 | 110.933 | 2.7016 | 167.659 | 1.8981 | 258.768 | 1.0406 | 230.0262 | 3.2833 | 321.157 | 2.3628 | 391.087 | 3.0613 | 462 | 4.8396 | 451.209 | 20.2842 | 594.031 | 12.8693 | 667.094 | 12.4018
25.1017 | 1.4606 | 20.4081 | 6.4163 | 22.3524 | 40.4411 | 28.8161 | 58.3727 | 34.2928 | 28.046 | 66.9492 | 3.571 | 105.418 | 2.0377 | 102.918 | 3.3731 | 158.686 | 2.1964 | 239.83 | 1.2273 | 218.5886 | 3.7691 | 302.455 | 2.8118 | 373.879 | 3.5178 | 453.7849 | 5.397 | 444.047 | 26.2023 | 582.851 | 15.5777 | 657.162 | 14.3657
23.0331 | 1.7226 | 19.4711 | 7.6587 | 22.2854 | 69.5363 | 28.7873 | 207.649 | 33.9515 | 37.2573 | 63.1135 | 4.1822 | 97.7031 | 2.4372 | 97.3131 | 4.1158 | 150.345 | 2.5621 | 224.288 | 1.4475 | 209.8077 | 4.366 | 284.556 | 3.462 | 360.658 | 3.9387 | 443.9111 | 6.134 | 436.126 | 34.3241 | 569.029 | 19.5279 | 644.794 | 17.0277
21.4974 | 2.0296 | 18.4845 | 9.4863 | 22.13 | 146.035 | 28.7585 | 407.016 | 33.6473 | 49.9413 | 60.0954 | 4.8834 | 91.1889 | 2.9149 | 92.4746 | 5.0171 | 142.299 | 3.0127 | 201.327 | 1.8623 | 203.4039 | 4.8542 | 273.125 | 4.0303 | 349.999 | 4.4542 | 434.2515 | 6.9995 | 431.355 | 45.1887 | 557.204 | 24.4064 | 634.559 | 19.9025
19.8645 | 2.4494 | 17.7242 | 11.7147 | 21.9976 | 302.43 | 28.7585 | 594.579 | 33.4461 | 71.7974 | 57.1646 | 5.8407 | 85.8785 | 3.4139 | 88.6711 | 6.0427 | 136.037 | 3.5073 | 185.292 | 2.3487 | 197.5899 | 5.4786 | 265.053 | 4.599 | 338.977 | 5.1235 | 424.3777 | 8.0756 | 424.933 | 62.1064 | 540.195 | 33.7455 | 622.617 | 23.6377
18.3923 | 2.9708 | 17.1318 | 16.7407 | 21.9756 | 595.174 | 28.7585 | 594.579 | 33.2128 | 109.054 | 54.5945 | 7.1053 | 81.2015 | 3.9862 | 86.309 | 7.0065 | 129.144 | 4.083 | 173.284 | 2.8401 | 192.7107 | 6.1709 | 257.735 | 5.2532 | 328.63 | 5.923 | 413.0729 | 9.4957 | 419.864 | 87.6936 | 526.858 | 45.0984 | 611.51 | 29.425
17.2176 | 3.5038 | 16.6088 | 24.5533 | 21.9756 | 595.174 | 28.7585 | 594.579 | 33.0802 | 175.186 | 52.0359 | 8.6007 | 77.6284 | 4.5578 | 83.842 | 8.214 | 125.077 | 4.6082 | 162.541 | 3.4585 | 186.8283 | 7.0346 | 251.875 | 6.0245 | 315.428 | 7.2199 | 402.4714 | 11.8088 | 415.686 | 138.082 | 510.776 | 67.0104 | 602.406 | 36.301
15.9098 | 4.2752 | 16.1502 | 40.0788 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.9481 | 319.211 | 50.0456 | 10.7278 | 74.2868 | 5.227 | 81.4455 | 9.9726 | 121.259 | 5.2848 | 153.689 | 4.1948 | 181.6706 | 8.0837 | 245.165 | 6.916 | 303.667 | 8.792 | 394.502 | 13.983 | 409.498 | 217.207 | 500.662 | 99.968 | 589.887 | 47.3633
14.9982 | 5.002 | 15.9576 | 77.6995 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.9152 | 505.149 | 48.4695 | 13.5833 | 71.0891 | 6.0366 | 79.5936 | 11.7499 | 117.793 | 6.1278 | 147.073 | 4.987 | 176.6536 | 9.4863 | 239.112 | 8.0837 | 292.636 | 10.8356 | 384.377 | 17.8471 | 403.401 | 337.934 | 486.351 | 155.843 | 577.629 | 64.4473
14.324 | 5.8407 | 15.878 | 153.984 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 47.3674 | 17.337 | 68.5069 | 6.8267 | 77.4733 | 14.0812 | 114.885 | 7.0982 | 141.873 | 5.9765 | 172.6369 | 11.0324 | 232.742 | 9.5816 | 283.988 | 13.4347 | 373.7642 | 22.9391 | 400.187 | 500.122 | 478.153 | 262.395 | 565.06 | 97.9885
13.7899 | 6.7995 | 15.8463 | 331.243 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 46.383 | 23.4025 | 66.4157 | 7.8056 | 75.485 | 17.2851 | 112.273 | 8.3884 | 137.267 | 7.2706 | 169 | 13.2479 | 226.769 | 11.6213 | 277.531 | 16.1973 | 365.2649 | 28.6985 | 399.787 | 592.205 | 470.564 | 478.594 | 553.317 | 142.145
13.289 | 7.9952 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 45.6012 | 32.3575 | 64.0673 | 9.0056 | 73.6949 | 20.694 | 109.391 | 10.2046 | 133.744 | 8.6265 | 165.2 | 15.3765 | 221.391 | 14.2797 | 271.492 | 19.5474 | 355.8902 | 40.5221 | 399.787 | 592.205 | 467.281 | 589.841 | 543.99 | 196.34
12.9479 | 9.1692 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 44.8774 | 48.6595 | 62.423 | 10.266 | 71.9473 | 27.0814 | 106.69 | 12.4142 | 130.573 | 10.1537 | 162.5 | 18.0265 | 216.141 | 17.4588 | 263.995 | 24.5533 | 349.1929 | 53.242 | 399.787 | 592.205 | 467.281 | 589.841 | 539.656 | 265.032
12.6282 | 10.6317 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 44.743 | 82.2571 | 60.5176 | 12.3523 | 70.5932 | 35.4048 | 104.16 | 15.2388 | 128.5 | 11.703 | 160 | 21.5386 | 211.226 | 22.0838 | 257.993 | 31.2134 | 344.6829 | 69.2587 | 399.787 | 592.205 | 467.281 | 589.841 | 533.752 | 389.106
12.3534 | 12.7158 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 44.5198 | 258.23 | 59.0825 | 14.8774 | 69.4033 | 47.1742 | 101.183 | 19.6062 | 125.202 | 14.2655 | 157.5 | 26.0195 | 206.837 | 28.2995 | 248.87 | 44.1612 | 340.5706 | 87.4309 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391
12.0846 | 15.7816 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 44.2093 | 463.521 | 57.8547 | 18.299 | 68.7127 | 63.8699 | 99.4777 | 23.5434 | 122.355 | 17.7227 | 155 | 31.4955 | 203.147 | 35.9758 | 242.968 | 59.1365 | 337.5192 | 120.163 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391
11.8335 | 18.9887 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 43.9448 | 594.579 | 57.1074 | 22.4849 | 68.1652 | 90.3643 | 97.7031 | 32.0355 | 120.293 | 22.1059 | 153.5 | 36.4101 | 198.926 | 49.4938 | 237.206 | 81.1135 | 334.8306 | 170.008 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391
11.7509 | 22.9162 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 43.9448 | 594.579 | 56.2572 | 30.5953 | 67.4869 | 143 | 95.8643 | 44.5159 | 118.858 | 26.4921 | 151.5 | 43.7218 | 194.402 | 68.8444 | 232.045 | 114.76 | 332.5 | 263.183 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391
11.6573 | 30.2909 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 43.9448 | 594.579 | 56.2572 | 61.3655 | 67.2175 | 218.733 | 94.4371 | 66.6762 | 117.44 | 33.6108 | 150 | 53.6697 | 189.603 | 108.402 | 228.362 | 159.469 | 332 | 390.275 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391
11.6456 | 46.4719 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 43.9448 | 594.579 | 56.0887 | 41.7979 | 66.9492 | 395.777 | 92.8452 | 98.0865 | 115.808 | 43.941 | 148.5 | 67.6839 | 187.154 | 160.268 | 223.84 | 232.956 | 331.1672 | 591.022 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391
11.6456 | 77.6219 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 43.9448 | 594.579 | 55.8089 | 107.538 | 66.4822 | 594.579 | 91.0978 | 158.356 | 114.541 | 65.6179 | 146.8175 | 91.73 | 183.265 | 246.128 | 221.834 | 338.95 | 331.1672 | 591.022 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391
11.6108 | 130.692 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 43.9448 | 594.579 | 55.3642 | 177.834 | 66.4822 | 594.579 | 89.8313 | 254.131 | 113.401 | 92.7446 | 144.9211 | 125.945 | 180.536 | 374.223 | 219.627 | 472.413 | 331.1672 | 591.022 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391
11.5992 | 249.099 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 43.9448 | 594.579 | 55.1984 | 592.798 | 66.4822 | 594.579 | 88.6711 | 415.654 | 111.824 | 142.572 | 143.8 | 179.441 | 178.561 | 525.239 | 218.969 | 599.355 | 331.1672 | 591.022 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391
11.576 | 444.457 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 43.9448 | 594.579 | 55.1984 | 592.798 | 66.4822 | 594.579 | 87.701 | 594.579 | 111.044 | 194.971 | 143 | 300 | 178.204 | 598.157 | 218.969 | 599.355 | 331.1672 | 591.022 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391
11.5529 | 594.579 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 43.9448 | 594.579 | 55.1984 | 592.798 | 66.4822 | 594.579 | 87.701 | 594.579 | 110.16 | 303.642 | 142.9068 | 512.783 | 178.204 | 598.157 | 218.969 | 599.355 | 331.1672 | 591.022 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391
11.5529 | 594.579 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 43.9448 | 594.579 | 55.1984 | 592.798 | 66.4822 | 594.579 | 87.701 | 594.579 | 109.063 | 464.914 | 142.6213 | 595.769 | 178.204 | 598.157 | 218.969 | 599.355 | 331.1672 | 591.022 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391
11.5529 | 594.579 | 15.8463 | 596.365 | 21.9756 | 595.174 | 28.7585 | 594.579 | 32.8823 | 597.559 | 43.9448 | 594.579 | 55.1984 | 592.798 | 66.4822 | 594.579 | 87.701 | 594.579 | 108.411 | 595.174 | 142.6213 | 595.769 | 178.204 | 598.157 | 218.969 | 599.355 | 331.1672 | 591.022 | 399.787 | 592.205 | 467.281 | 589.841 | 533.218 | 593.391