## 153_42S4
S&C Power Fuses - Type SM-4 (3E thru 200E) (7.2-14.4 kV) and SM-5 (3E thru 2-400E) (4.16, 7.2, and 14.4 kV) | [9 empty] | S&C Power Fuses - Type SM-4 (3E thru 200E) (7.2-14.4 kV) and SM-5 (3E thru 2-400E) (4.16, 7.2, and 14.4 kV) | [9 empty] | S&C Power Fuses - Type SM-4 (3E thru 200E) (7.2-14.4 kV) and SM-5 (3E thru 2-400E) (4.16, 7.2, and 14.4 kV) | [9 empty] | S&C Power Fuses - Type SM-4 (3E thru 200E) (7.2-14.4 kV) and SM-5 (3E thru 2-400E) (4.16, 7.2, and 14.4 kV) | [9 empty] | S&C Power Fuses - Type SM-4 (3E thru 200E) (7.2-14.4 kV) and SM-5 (3E thru 2-400E) (4.16, 7.2, and 14.4 kV)
Standard Speed (TCC 153-4-2) | [9 empty] | Standard Speed (TCC 153-4-2) | [9 empty] | Standard Speed (TCC 153-4-2) | [9 empty] | Standard Speed (TCC 153-4-2) | [9 empty] | Standard Speed (TCC 153-4-2)
Total Clearing Time-Current Characteristic Curves Dated March 18, 1985 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated March 18, 1985 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated March 18, 1985 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated March 18, 1985 | [9 empty] | Total Clearing Time-Current Characteristic Curves Dated March 18, 1985
Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus. | [9 empty] | Tolerance: Curves are plotted to maximum test points. All variations are minus.
Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time | Current | Time
| 3E |  | 5E |  | 7E |  | 10E |  | 13E |  | 15E |  | 20E |  | 25E |  | 30E |  | 40E |  | 50E |  | 65E |  | 80E |  | 100E |  | 125E |  | 150E |  | 175E |  | 200E |  | 250E |  | 300E |  | 400E |  | 2-250E |  | 2-300E |  | 2-400E
47703 | 0.013486 | 47752.9 | 0.013557 | 47752.9 | 0.013642 | 47703 | 0.013785 | 47703 | 0.0138 | 47752.9 | 0.013829 | 47802.9 | 0.0138 | 47802.9 | 0.0138 | 47852.9 | 0.013814 | 47752.9 | 0.013829 | 47802.9 | 0.013829 | 47852.9 | 0.013858 | 47802.9 | 0.013901 | 47703 | 0.013858 | 47852.9 | 0.013901 | 47802.9 | 0.013945 | 47802.9 | 0.014062 | 47852.9 | 0.014106 | 47652.2 | 0.014311 | 47602.2 | 0.014521 | 47602.2 | 0.014935 | 47602.2 | 0.016301 | 47602.2 | 0.018724 | 47552.3 | 0.020565
39068.4 | 0.014106 | 37273 | 0.014314 | 35300.8 | 0.01451 | 30177.3 | 0.01513 | 19030.6 | 0.016502 | 28880.9 | 0.015321 | 33433 | 0.01477 | 29460.3 | 0.015273 | 28941.4 | 0.015241 | 23431.8 | 0.015909 | 23382.8 | 0.015959 | 35933.8 | 0.014693 | 33855.1 | 0.014817 | 33398.1 | 0.01491 | 32775.5 | 0.014957 | 37195.2 | 0.014988 | 32775.5 | 0.015596 | 29276.1 | 0.01611 | 40082.4 | 0.014966 | 42640 | 0.014951 | 40420 | 0.016166 | 41842.9 | 0.01748 | 42106.9 | 0.02012 | 40250.8 | 0.023794
27872.4 | 0.01513 | 24637.6 | 0.015612 | 20690.7 | 0.016228 | 16594.9 | 0.016939 | 8661.01 | 0.019345 | 12618.8 | 0.018187 | 17743.2 | 0.016833 | 11789.8 | 0.01834 | 12178.1 | 0.018168 | 12383.6 | 0.018225 | 16149.9 | 0.017225 | 21732.7 | 0.016262 | 22519.1 | 0.016262 | 22076.2 | 0.016313 | 25502.4 | 0.016059 | 29276.1 | 0.015992 | 22994.9 | 0.017315 | 18423.7 | 0.019083 | 33715.1 | 0.015882 | 37285.1 | 0.015799 | 30327.4 | 0.019019 | 32705.4 | 0.020458 | 35232.9 | 0.022847 | 31165.5 | 0.030778
18137.1 | 0.016571 | 14916.4 | 0.017225 | 11449.7 | 0.018263 | 7974.44 | 0.019671 | 3636.83 | 0.022963 | 6329.35 | 0.020683 | 10367.2 | 0.018591 | 6038.49 | 0.020923 | 7100.73 | 0.020425 | 7388.49 | 0.020319 | 11119.4 | 0.018727 | 13407.6 | 0.017998 | 14592.5 | 0.017979 | 15407.7 | 0.018054 | 19926.5 | 0.017442 | 19719.2 | 0.018149 | 15553.4 | 0.020468 | 13534.4 | 0.022582 | 27308.8 | 0.017281 | 30327.4 | 0.017534 | 22826.6 | 0.02311 | 24668.1 | 0.025755 | 28568.1 | 0.02756 | 24980.4 | 0.040186
11642.8 | 0.017998 | 8733.75 | 0.019163 | 7145.41 | 0.020129 | 3245.14 | 0.023498 | 2107.26 | 0.025898 | 3469.7 | 0.023326 | 7175.35 | 0.020234 | 3954.08 | 0.023036 | 4330.58 | 0.023011 | 5232.7 | 0.022301 | 9357.65 | 0.019568 | 9308.86 | 0.019982 | 11533.8 | 0.019244 | 12001.2 | 0.019753 | 13921.9 | 0.019815 | 14068.2 | 0.021298 | 12396.5 | 0.023229 | 10675.1 | 0.026919 | 20191.5 | 0.019994 | 23164.1 | 0.02033 | 17935.6 | 0.028553 | 20085.9 | 0.031393 | 23334.8 | 0.034122 | 20149.2 | 0.054079
6217.86 | 0.020425 | 3856.1 | 0.022582 | 3945.82 | 0.022724 | 1725.83 | 0.026891 | 1483.08 | 0.028752 | 2567.62 | 0.025019 | 4285.54 | 0.022606 | 3009.84 | 0.025362 | 3583.99 | 0.024399 | 4067.28 | 0.024527 | 7334.62 | 0.02101 | 6592.75 | 0.022844 | 8834.77 | 0.021253 | 8517.34 | 0.022963 | 8965.03 | 0.024811 | 11283.3 | 0.023745 | 10047.1 | 0.026835 | 8219.91 | 0.033706 | 15261.4 | 0.023769 | 17655.7 | 0.024781 | 13641.9 | 0.037987 | 16736.5 | 0.038465 | 19586.8 | 0.042689 | 16303.5 | 0.074386
3099.25 | 0.023522 | 1697.2 | 0.026307 | 2728.13 | 0.024348 | 1397.28 | 0.028483 | 1145.56 | 0.031789 | 1890.16 | 0.027517 | 3856.1 | 0.023036 | 2122.74 | 0.029055 | 2978.54 | 0.026197 | 2956.82 | 0.028246 | 5444.76 | 0.022939 | 4777.77 | 0.026639 | 6382.51 | 0.024272 | 5944.53 | 0.028098 | 5882.71 | 0.034167 | 8490.67 | 0.029176 | 7647.84 | 0.033882 | 6243.92 | 0.045124 | 11535.1 | 0.030237 | 13887.2 | 0.030842 | 11213.2 | 0.048627 | 14107.3 | 0.047773 | 15633.9 | 0.058171 | 13358.8 | 0.10285
1948.35 | 0.025601 | 1021.11 | 0.029268 | 1577.44 | 0.027288 | 1099.79 | 0.030936 | 882.089 | 0.035851 | 1414.92 | 0.030486 | 2935.26 | 0.025019 | 1579.09 | 0.03406 | 2419.08 | 0.028662 | 2078.82 | 0.03478 | 3937.58 | 0.026115 | 3444.4 | 0.032562 | 4678.91 | 0.029115 | 4299.01 | 0.036608 | 4366.95 | 0.046367 | 6019.58 | 0.040347 | 5779.08 | 0.04555 | 4858.36 | 0.062335 | 8431.03 | 0.041722 | 10054.8 | 0.043724 | 9149.48 | 0.064491 | 11953.7 | 0.060646 | 13122.8 | 0.076429 | 10540.6 | 0.15522
1395.82 | 0.027345 | 772.414 | 0.031755 | 1185.77 | 0.029329 | 717.907 | 0.0368 | 752.488 | 0.038979 | 1032.93 | 0.035478 | 2057.2 | 0.028187 | 1215.9 | 0.040559 | 1803.3 | 0.034238 | 1536.74 | 0.044608 | 2944.48 | 0.030327 | 2548.9 | 0.042159 | 3576.5 | 0.035888 | 3359.05 | 0.047199 | 3174.67 | 0.069062 | 4321.54 | 0.060473 | 4201.26 | 0.068058 | 3827.99 | 0.088577 | 6736.59 | 0.055276 | 7418.75 | 0.066401 | 7528.44 | 0.087151 | 10365.2 | 0.075716 | 11283.9 | 0.097734 | 8118.74 | 0.25171
1103.25 | 0.028602 | 653.439 | 0.033181 | 859.333 | 0.032325 | 469.113 | 0.04715 | 489.658 | 0.053008 | 780.532 | 0.04172 | 1385.65 | 0.032905 | 901.668 | 0.052676 | 1411.97 | 0.040985 | 1168.54 | 0.059098 | 1989.51 | 0.040305 | 1868.55 | 0.058605 | 2488.34 | 0.051802 | 2583.78 | 0.064659 | 2447.06 | 0.10169 | 3292.99 | 0.088115 | 3286.11 | 0.098547 | 3057.41 | 0.12839 | 5150.82 | 0.080348 | 5780.46 | 0.097327 | 6097.95 | 0.12446 | 9111.19 | 0.093549 | 9343.35 | 0.1336 | 6319.25 | 0.40819
825.863 | 0.030201 | 437.379 | 0.037933 | 639.25 | 0.036076 | 339.966 | 0.0606 | 342.822 | 0.076915 | 526.836 | 0.057093 | 957.032 | 0.041157 | 685.632 | 0.071039 | 1022.18 | 0.05533 | 891.359 | 0.081725 | 1420.85 | 0.056499 | 1335.86 | 0.090544 | 1771.53 | 0.080537 | 2059.35 | 0.088299 | 1742.15 | 0.1757 | 2543.57 | 0.13207 | 2779.95 | 0.13042 | 2334.61 | 0.20277 | 4089.82 | 0.11546 | 4584.95 | 0.14311 | 5038.65 | 0.17389 | 7623.76 | 0.12708 | 8008.84 | 0.17407 | 4801.41 | 0.7135
643.945 | 0.031789 | 298.32 | 0.045455 | 507.907 | 0.039802 | 242.287 | 0.087107 | 258.782 | 0.10918 | 407.791 | 0.074306 | 589.191 | 0.064254 | 586.733 | 0.086472 | 778.088 | 0.076036 | 673.554 | 0.1216 | 1041.6 | 0.082843 | 1027.54 | 0.13614 | 1214.63 | 0.14284 | 1562.66 | 0.1343 | 1473.8 | 0.23621 | 1985.36 | 0.19919 | 2120.52 | 0.2077 | 1807.07 | 0.32426 | 3469.1 | 0.15218 | 3772.62 | 0.20415 | 4198.43 | 0.24169 | 6405.96 | 0.1728 | 6901.01 | 0.22942 | 3796.43 | 1.2291
496.877 | 0.033635 | 191.702 | 0.061558 | 383.799 | 0.046562 | 175.953 | 0.13514 | 196.779 | 0.16416 | 318.63 | 0.10169 | 445.221 | 0.091113 | 442.9 | 0.1292 | 619.512 | 0.10405 | 491.71 | 0.20087 | 787.91 | 0.12547 | 813.014 | 0.20066 | 889.497 | 0.24221 | 1221 | 0.20404 | 1146.76 | 0.37814 | 1648.24 | 0.27806 | 1629.4 | 0.33495 | 1338.66 | 0.59098 | 2948.77 | 0.20373 | 3062.2 | 0.30018 | 3487.34 | 0.34086 | 5422.35 | 0.2372 | 5804.75 | 0.32121 | 2933.35 | 2.4807
368.851 | 0.036001 | 129.935 | 0.090828 | 306.54 | 0.053959 | 127.78 | 0.22069 | 154.237 | 0.24348 | 260.683 | 0.13542 | 347.876 | 0.12974 | 342.106 | 0.19284 | 486.088 | 0.14941 | 385.81 | 0.30968 | 612.429 | 0.18924 | 624.062 | 0.32056 | 714.911 | 0.36417 | 986.492 | 0.29793 | 859.333 | 0.66649 | 1384.2 | 0.38452 | 1271.81 | 0.54185 | 1013.67 | 1.0816 | 2488.16 | 0.27877 | 2611.1 | 0.40819 | 2967.38 | 0.464 | 4662.51 | 0.31524 | 4862.2 | 0.46352 | 2524.95 | 4.1203
285.206 | 0.038132 | 95.3533 | 0.13318 | 235.297 | 0.067916 | 99.9463 | 0.33216 | 123.318 | 0.35926 | 202.624 | 0.20277 | 266.469 | 0.19304 | 271.815 | 0.28573 | 381.399 | 0.22 | 293.985 | 0.51371 | 474.043 | 0.29483 | 489.146 | 0.51264 | 544.759 | 0.606 | 771.607 | 0.46806 | 654.123 | 1.1625 | 1082.68 | 0.60663 | 1002.08 | 0.86472 | 790.386 | 2.0045 | 2034.49 | 0.4116 | 2135.01 | 0.6052 | 2457.05 | 0.67517 | 3885.02 | 0.44972 | 4141.6 | 0.6409 | 2249.92 | 7.739
220.76 | 0.040857 | 69.8288 | 0.20662 | 170.698 | 0.097726 | 75.4454 | 0.55504 | 96.0536 | 0.56322 | 152.952 | 0.32974 | 206.689 | 0.29545 | 213.497 | 0.44795 | 293.678 | 0.34562 | 223.547 | 0.86472 | 366.161 | 0.49061 | 378.618 | 0.85662 | 405.665 | 1.1207 | 617.572 | 0.71861 | 515.395 | 1.9774 | 853.067 | 0.97828 | 789.56 | 1.4601 | 633.926 | 4.2557 | 1595.21 | 0.67026 | 1786.46 | 0.87972 | 1986.01 | 1.0645 | 3143.52 | 0.68295 | 3587.47 | 0.87151 | 2114.96 | 13.6408
174.305 | 0.044144 | 53.656 | 0.31689 | 122.547 | 0.15498 | 59.6315 | 0.86111 | 71.6779 | 0.97828 | 113.542 | 0.5597 | 164.222 | 0.44701 | 165.428 | 0.73457 | 225.189 | 0.56559 | 179.483 | 1.3585 | 287.601 | 0.79616 | 304.305 | 1.4033 | 320.3 | 1.9405 | 475.035 | 1.2469 | 421.223 | 3.7187 | 677.792 | 1.6433 | 656.178 | 2.3571 | 564.47 | 8.7016 | 1415.5 | 0.86788 | 1494.82 | 1.3152 | 1653.1 | 1.6627 | 2669.22 | 0.96923 | 3091.23 | 1.2101 | 2034.49 | 24.9883
133.097 | 0.0485 | 46.399 | 0.40857 | 87.8863 | 0.26225 | 48.9912 | 1.2799 | 57.3689 | 1.5369 | 89.1821 | 0.87655 | 131.989 | 0.67491 | 127.114 | 1.2313 | 174.67 | 0.91591 | 141.862 | 2.3326 | 229.707 | 1.35 | 247.406 | 2.3473 | 265.635 | 3.353 | 361.218 | 2.412 | 368.08 | 7.1861 | 546.47 | 2.9391 | 558.016 | 4.0942 | 522.994 | 18.9838 | 1165.94 | 1.3514 | 1258.68 | 1.948 | 1411.06 | 2.5755 | 2247.56 | 1.4445 | 2597.45 | 1.7829 | 1992.27 | 44.1823
105.861 | 0.052953 | 36.1028 | 0.64389 | 75.2878 | 0.33953 | 37.8814 | 2.2915 | 45.7726 | 2.6417 | 74.0389 | 1.2866 | 106.083 | 1.0384 | 105.089 | 1.8359 | 144.255 | 1.3528 | 122.163 | 3.5664 | 189.708 | 2.1703 | 205.826 | 4.1807 | 233.826 | 6.188 | 299.257 | 4.6125 | 340.678 | 13.3736 | 464.72 | 5.8728 | 500.527 | 7.3227 | 502.624 | 42.6017 | 970.496 | 2.1709 | 1069.89 | 3.1068 | 1256.04 | 4.1117 | 1892.5 | 2.3993 | 2205.54 | 2.8375 | 1967.36 | 76.111
85.7982 | 0.058544 | 32.3157 | 0.79533 | 60.4475 | 0.49889 | 30.1927 | 4.332 | 36.1406 | 5.3509 | 60.7643 | 1.9961 | 89.9311 | 1.4817 | 90.4024 | 2.6061 | 118.763 | 2.077 | 109.006 | 5.9719 | 159.818 | 3.6608 | 178.361 | 7.9866 | 213.274 | 11.7964 | 267.586 | 8.7198 | 323.666 | 24.2465 | 426.095 | 11.1139 | 472.065 | 12.4948 | 491.71 | 96.5071 | 848.617 | 3.5242 | 926.743 | 5.4418 | 1165.94 | 6.1218 | 1723.9 | 3.2934 | 1916.47 | 4.8223 | 1967.36 | 126.814
63.8245 | 0.071114 | 25.5154 | 1.2639 | 50.0786 | 0.70743 | 26.7165 | 7.7238 | 31.4491 | 11.0328 | 49.0937 | 3.4816 | 71.603 | 2.5124 | 77.2007 | 4.238 | 98.1857 | 3.4962 | 103.562 | 8.6653 | 139.217 | 7.03 | 161.835 | 14.6933 | 201.146 | 21.2756 | 250.268 | 16.3813 | 314.657 | 45.6457 | 406.939 | 19.8984 | 452.258 | 23.5223 | 485.072 | 212.534 | 764.952 | 5.5796 | 824.067 | 10.393 | 1093.7 | 10.5237 | 1563.75 | 5.0328 | 1729.33 | 8.1444 | 1959.13 | 211.734
47.5779 | 0.091495 | 19.7293 | 2.2092 | 40.2074 | 1.0941 | 24.8572 | 13.4718 | 29.8787 | 18.8256 | 42.0561 | 6.0158 | 57.0102 | 4.7895 | 68.6704 | 6.7916 | 84.7286 | 6.1173 | 97.776 | 13.5283 | 124.614 | 14.1653 | 153.272 | 26.4726 | 191.903 | 40.686 | 236.531 | 33.2505 | 309.114 | 88.2994 | 389.458 | 42.1586 | 438.753 | 49.8886 | 483.553 | 404.316 | 714.559 | 8.2383 | 760.155 | 22.6099 | 1048.78 | 16.2502 | 1450.05 | 8.1444 | 1622.2 | 13.0704 | 1961.18 | 320.54
36.5204 | 0.12021 | 16.0907 | 3.7421 | 33.0676 | 1.6245 | 23.3703 | 26.7789 | 29.1079 | 29.6686 | 37.0201 | 13.6848 | 49.8176 | 9.6912 | 63.8913 | 10.438 | 76.718 | 11.0444 | 93.5757 | 21.5443 | 117.037 | 26.3621 | 147.457 | 54.412 | 185.977 | 85.1262 | 230.67 | 62.9902 | 306.54 | 163.13 | 379.807 | 78.0495 | 431.475 | 99.0633 | 484.566 | 592.215 | 680.201 | 12.8811 | 735.846 | 43.9527 | 1019.51 | 25.5411 | 1384.68 | 12.5368 | 1563.75 | 21.6193 | 1967.36 | 438.612
30.8306 | 0.14863 | 13.9144 | 5.8913 | 28.0327 | 2.3035 | 22.4835 | 56.1459 | 28.9259 | 50.1501 | 34.3717 | 30.8068 | 46.9847 | 17.5886 | 60.3843 | 16.2619 | 71.4534 | 20.597 | 90.1193 | 37.3037 | 112.479 | 56.2047 | 145.163 | 102.006 | 180.235 | 187.079 | 226.37 | 117.349 | 303.987 | 290.85 | 371.948 | 134.718 | 428.328 | 157.432 | 484.566 | 592.215 | 652.95 | 22.1667 | 731.999 | 80.768 | 995.226 | 48.324 | 1323.64 | 20.3727 | 1512.16 | 35.5738 | 1973.56 | 521.971
23.8142 | 0.21977 | 12.6781 | 9.2651 | 22.5071 | 3.9636 | 22.0413 | 145.253 | 28.8956 | 82.5835 | 33.3105 | 65.8872 | 45.4389 | 29.2374 | 57.9718 | 25.9247 | 67.3903 | 48.1461 | 88.8099 | 68.4863 | 110.613 | 94.7076 | 143.503 | 195.478 | 176.69 | 406.01 | 223.547 | 209.884 | 300.825 | 475.954 | 366.928 | 246.814 | 426.541 | 299.491 | 484.566 | 592.215 | 634.725 | 40.1439 | 732.767 | 133.595 | 985.879 | 83.0724 | 1290.75 | 32.054 | 1490.12 | 61.6017 | 1973.56 | 521.971
19.3008 | 0.31098 | 11.7098 | 17.904 | 19.0802 | 7.0447 | 21.9723 | 323.248 | 28.8052 | 130.968 | 33.1022 | 97.1145 | 44.7319 | 52.4017 | 56.2994 | 43.7759 | 66.2724 | 84.8596 | 88.0702 | 125.078 | 110.151 | 182.061 | 143.053 | 339.177 | 175.402 | 592.834 | 221.454 | 360.008 | 299.257 | 597.814 | 363.872 | 417.637 | 426.541 | 496.804 | 484.566 | 592.215 | 626.79 | 76.7481 | 730.466 | 207.8 | 978.671 | 155.382 | 1261.32 | 57.508 | 1483.89 | 106.45 | 1973.56 | 521.971
15.8403 | 0.45124 | 11.4196 | 31.1306 | 17.043 | 12.2106 | 22.0644 | 593.455 | 28.6849 | 210.764 | 33.0676 | 213.425 | 44.5918 | 84.7709 | 55.2499 | 70.1534 | 65.858 | 142.544 | 88.0702 | 211.868 | 110.267 | 302.956 | 142.456 | 507.303 | 175.402 | 592.834 | 220.991 | 558.532 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 624.821 | 116.429 | 728.172 | 340.507 | 976.621 | 261.605 | 1245.55 | 88.8932 | 1466.87 | 178.477 | 1973.56 | 521.971
12.5463 | 0.75956 | 11.4316 | 48.754 | 16.0739 | 20.9884 | 22.0644 | 593.455 | 28.655 | 325.283 | 33.1022 | 399.692 | 44.4057 | 144.193 | 54.847 | 110.098 | 65.9269 | 262.795 | 88.4393 | 339.532 | 110.497 | 453.128 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 618.953 | 199.11 | 727.409 | 466.907 | 978.671 | 386.258 | 1235.14 | 133.456 | 1471.49 | 276.169 | 1973.56 | 521.971
10.636 | 1.2109 | 11.4316 | 82.6699 | 15.5288 | 40.9849 | 22.0644 | 593.455 | 28.5951 | 482.469 | 33.0676 | 594.075 | 44.2667 | 237.447 | 54.9044 | 165.017 | 66.2032 | 475.954 | 88.4393 | 521.285 | 110.613 | 595.942 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 612.498 | 331.062 | 725.125 | 556.222 | 976.621 | 524.151 | 1223.54 | 226.334 | 1473.04 | 409.038 | 1973.56 | 521.971
9.2071 | 2.0024 | 11.4077 | 148.322 | 15.3673 | 73.6874 | 22.0644 | 593.455 | 28.5951 | 594.697 | 33.0676 | 594.075 | 44.1281 | 379.331 | 54.9618 | 247.072 | 66.2724 | 597.814 | 88.3469 | 594.075 | 110.613 | 595.942 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 608.657 | 484.248 | 725.885 | 583.53 | 980.725 | 584.747 | 1220.98 | 326.608 | 1477.68 | 521.971 | 1973.56 | 521.971
8.3541 | 3.3251 | 11.3839 | 274.881 | 15.3995 | 132.206 | 22.0644 | 593.455 | 28.5951 | 594.697 | 33.0676 | 594.075 | 43.9899 | 550.99 | 55.0769 | 378.143 | 66.2724 | 597.814 | 88.3469 | 594.075 | 110.613 | 595.942 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 611.215 | 584.747 | 725.885 | 583.53 | 980.725 | 584.747 | 1219.7 | 409.892 | 1477.68 | 521.971 | 1973.56 | 521.971
7.7079 | 6.412 | 11.3839 | 494.73 | 15.464 | 256.282 | 22.0644 | 593.455 | 28.5951 | 594.697 | 33.0676 | 594.075 | 44.0359 | 597.19 | 55.1922 | 539.587 | 66.2724 | 597.814 | 88.3469 | 594.075 | 110.613 | 595.942 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 611.215 | 584.747 | 725.885 | 583.53 | 980.725 | 584.747 | 1223.54 | 521.971 | 1477.68 | 521.971 | 1973.56 | 521.971
7.3537 | 11.6007 | 11.372 | 593.455 | 15.464 | 400.11 | 22.0644 | 593.455 | 28.5951 | 594.697 | 33.0676 | 594.075 | 44.0359 | 597.19 | 55.3655 | 596.565 | 66.2724 | 597.814 | 88.3469 | 594.075 | 110.613 | 595.942 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 611.215 | 584.747 | 725.885 | 583.53 | 980.725 | 584.747 | 1223.54 | 521.971 | 1477.68 | 521.971 | 1973.56 | 521.971
7.1341 | 21.4319 | 11.372 | 593.455 | 15.4964 | 552.144 | 22.0644 | 593.455 | 28.5951 | 594.697 | 33.0676 | 594.075 | 44.0359 | 597.19 | 55.3655 | 596.565 | 66.2724 | 597.814 | 88.3469 | 594.075 | 110.613 | 595.942 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 611.215 | 584.747 | 725.885 | 583.53 | 980.725 | 584.747 | 1223.54 | 521.971 | 1477.68 | 521.971 | 1973.56 | 521.971
7.1043 | 38.0921 | 11.372 | 593.455 | 15.4802 | 593.455 | 22.0644 | 593.455 | 28.5951 | 594.697 | 33.0676 | 594.075 | 44.0359 | 597.19 | 55.3655 | 596.565 | 66.2724 | 597.814 | 88.3469 | 594.075 | 110.613 | 595.942 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 611.215 | 584.747 | 725.885 | 583.53 | 980.725 | 584.747 | 1223.54 | 521.971 | 1477.68 | 521.971 | 1973.56 | 521.971
7.1416 | 70.7427 | 11.372 | 593.455 | 15.4802 | 593.455 | 22.0644 | 593.455 | 28.5951 | 594.697 | 33.0676 | 594.075 | 44.0359 | 597.19 | 55.3655 | 596.565 | 66.2724 | 597.814 | 88.3469 | 594.075 | 110.613 | 595.942 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 611.215 | 584.747 | 725.885 | 583.53 | 980.725 | 584.747 | 1223.54 | 521.971 | 1477.68 | 521.971 | 1973.56 | 521.971
7.164 | 140.033 | 11.372 | 593.455 | 15.4802 | 593.455 | 22.0644 | 593.455 | 28.5951 | 594.697 | 33.0676 | 594.075 | 44.0359 | 597.19 | 55.3655 | 596.565 | 66.2724 | 597.814 | 88.3469 | 594.075 | 110.613 | 595.942 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 611.215 | 584.747 | 725.885 | 583.53 | 980.725 | 584.747 | 1223.54 | 521.971 | 1477.68 | 521.971 | 1973.56 | 521.971
7.194 | 276.034 | 11.372 | 593.455 | 15.4802 | 593.455 | 22.0644 | 593.455 | 28.5951 | 594.697 | 33.0676 | 594.075 | 44.0359 | 597.19 | 55.3655 | 596.565 | 66.2724 | 597.814 | 88.3469 | 594.075 | 110.613 | 595.942 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 611.215 | 584.747 | 725.885 | 583.53 | 980.725 | 584.747 | 1223.54 | 521.971 | 1477.68 | 521.971 | 1973.56 | 521.971
7.2091 | 470.019 | 11.372 | 593.455 | 15.4802 | 593.455 | 22.0644 | 593.455 | 28.5951 | 594.697 | 33.0676 | 594.075 | 44.0359 | 597.19 | 55.3655 | 596.565 | 66.2724 | 597.814 | 88.3469 | 594.075 | 110.613 | 595.942 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 611.215 | 584.747 | 725.885 | 583.53 | 980.725 | 584.747 | 1223.54 | 521.971 | 1477.68 | 521.971 | 1973.56 | 521.971
7.2242 | 594.075 | 11.372 | 593.455 | 15.4802 | 593.455 | 22.0644 | 593.455 | 28.5951 | 594.697 | 33.0676 | 594.075 | 44.0359 | 597.19 | 55.3655 | 596.565 | 66.2724 | 597.814 | 88.3469 | 594.075 | 110.613 | 595.942 | 142.605 | 597.19 | 175.402 | 592.834 | 220.53 | 595.942 | 299.257 | 597.814 | 361.974 | 594.075 | 428.776 | 594.075 | 484.566 | 592.215 | 611.215 | 584.747 | 725.885 | 583.53 | 980.725 | 584.747 | 1223.54 | 521.971 | 1477.68 | 521.971 | 1973.56 | 521.971